## Sheet1
WEEKLY FLUSHING - LITTLE USED OUTLETS
Little used outlets can be identified as those outlets on site (hot or cold) which are not used
at least once a week, as a minimum. All outlets on site meeting this criteria need to be
included within the flushing regime and recorded on this document
Flushing of these outlets should involve turning on the flow of water and allowing this to run
for 2-3 minutes as a minimum. Flushing is not linked in any way to running the outlets to
confirm the temperatures. It is solely an exercise to draw water through the system, ensuring
that it does not sit stagnant within pipework.
Location | Outlet | Duration of flush | Date | Completed by
Example:
Boys WC | Cold | 3 minutes | 2022-06-21 | A N Other
For an electronic copy of this form please contact: gavin.curley@shropshire.gov.uk